CREEK COUNTY RURAL WATER DISTRICT #2

BOARD OF DIRECTORS MEETING

January 10, 2017

The meeting was called to order at 5:30 p.m. by Harvey Morris, President.  The roll was called and a quorum was recognized.

BOARD MEMBERS PRESENT:                                               BOARD MEMBERS ABSENT:

Harvey Morris, President

Bill Martin, Vice-President

Charles Volturo, Treasurer

Larry Bayouth, Secretary

Pat Scott, Member

Bergen Young, Member

Roy Kirby, Member

EMPLOYEES & GUESTS PRESENT:

District staff: Dorothy Greek, Manager: Cindy Hubbell, Admin. Asst.: Marty Lademann, Field Supervisor: John Leibherr, Asst Field Sup.: Joy Kotey, Engineer & Ryan Smith with Poe and Associates: Eric Sack and Ted Sack, Sack & Assoc., for Briar Creek, Tim Fox, customer, and Henry Penix, customer.

2 A.  Report from Ryan Smith, Poe & Associates on District growth in the area of 81st ST S. to 71st ST. S.  Ryan

gave 3 different scenarios for different lengths and widths of pipes to upgrade the water line. Sizes of pipe

included are 6”, 8”, 10”, distances were from 81st ST S. to 71st ST. S. and on to Briar Creek Subdivision.

Ryan reports water pressures are not an issue because we have good pressure; the issue is Fire protection.  A

6” line to Oakleaf Estates will not help fire protection, it will take a 10” line to raise pressure to 1000 gpm..

Discussion centered around upgrading from a 6” line to a 10” line from 81st St. to Oakleaf; then an 8” to 10”

line from Oakleaf Estates to 71st ST.S. and a 6” from 71st to Briar Creek.

B.  Discussion/vote on possible Board participation in increasing the line size of the of the above mentioned line

from a 6” line to a larger size and if the Board wants to continue the larger size to 71st Street South, in

anticipation of future growth.

Motion:  by Larry Bayouth, second by Bergen Young to pay the difference in the cost of materials (pipe &

fittings) to upgrade the size of waterline from a 6” to a 10” line from 81st St S to Southern edge of Oakleaf

Estates, approximately $38,000.00 and to upgrade line from a 6” to a 10”from Northern edge of Oakleaf Estates

on North to 71st St. S. at a cost of approximately $42,500.00 not to exceed $85,000.00 for both upgrades.

For: Martin-yes, Volturo-yes, Young-yes, Scott-yes, Bayouth-yes and Kirby-yes.  Against: None

Motion carried.

C.  Eric Sack with Sack and Associates discussed options for fire protection for the Estates at Briar Creek.

He  reported that he had not discussed increasing the water line size to a 10” with his clients but he would take the information back to them.  That would certainly help their fire flow.

D.  No Vote taken concerning possible solution to fire flow issue with Mr. Sack.

3. EXECUTIVE SESSION:

- Vote to enter into Executive Session.  Motion; Bill Martin made a motion to enter into Executive Session, second by Larry Bayouth at 9:15pm. For: Martin-yes, Volturo-yes, Young-yes, Scott-yes, Bayouth-yes and Kirby-yes.  Against: None Motion carried.

- The Board will conduct an executive session pursuant to Title 25, Oklahoma Statutes, Section (B) (3) concerning the purchase of, appraisal of real property or an interest in real property.

- Vote to end Executive Session.  Motion; by Bill Martin, second by Pat Scott to end executive session at 10pm.  For: Martin-yes, Volturo-yes, Young-yes, Scott-yes, Bayouth-yes and Kirby-yes.  Against: None Motion carried.

- Discussion/vote from Executive Session.  Motion; by Larry Bayouth, second by Bill Martin to enter into negotiations with the gentleman that made an offer to buy the District property at 131st and Lewis after our attorney reviews our counteroffer that will be based on the terms and conditions that we are acceptable too.

For: Martin-yes, Volturo-yes, Young-yes, Scott-yes, Bayouth-yes and Kirby-yes.  Against: None                .

Motion carried.

4. ENGINEERS REPORT:

A . Joy Kotey discussed progress on the Creek 2 improvements.

B. Discussion/vote; on Pay Request #7 in the amount of $83,740.60 for Cherokee Pride Construction , as recommended by Joy Kotey, Engineer.

Motion: by Larry Bayouth, second by Charles Volturo, to approve Pay Request #7 in the amount of

$83,740.60 for Cherokee Pride Construction as recommended by Joy Kotey, Engineer.

For: Martin-yes, Volturo-yes, Young-yes, Scott-yes, Bayouth-yes and Kirby-yes.  Against: None

Motion carried.

C. Discussion/vote; on Pay Request #8 for Kalka Construction Co. in the amount of $157,401.11,  as recommended by Joy Kotey, Engineer.

Motion: by Bergen Young, second by Bill Martin, to approve a Pay Request #8 for Kalka Construction Co. in the amount of $157,401.11 as recommended by Joy Kotey, Engineer.

For: Martin-yes, Volturo-yes, Young-yes, Scott-yes, Bayouth-yes and Kirby-yes. Against: None

Motion carried.

D. Discussion/vote; on Pay Request #6 in the amount of $168,670.69 for Jerry’s Excavation, Inc., as recommended by Joy Kotey, Engineer.

Motion: by Bergen Young, second by Roy Kirby, to approve Pay Request #6 in the amount of $168,670.69 for Jerry’s Excavation, Inc., as recommended by Joy Kotey, Engineer.

For: Martin-yes, Volturo-yes, Young-yes, Scott-yes, Bayouth-yes and Kirby-yes.  Against: None.

Motion carried.

E. Discussion/vote; on Pay Request #7 (November) in the amount of $25,959.56 for Poe and Assoc. Inc. as recommended by Joy Kotey Engineer.

Motion: by Pat Scott, second by Bergen Young, to approve Pay Request #7 in the amount of $25,959.56 for Poe and Assoc. Inc. as recommended by Joy Kotey Engineer.

For: Martin-yes, Volturo-yes, Young-yes, Scott-yes, Bayouth-yes and Kirby-yes.  Against: None.  Motion carried.

F. Discussion/vote; to rescind Change request No. 5, (revised) for Cherokee Pride as approved last month (December, 2016) by the Board because the amount presented of $42,300.00, by the engineer, was incorrect.

Motion: by Bill Martin, second by Pat Scott, to approve rescinding Change request No. 5, (revised) for Cherokee Pride as approved last month (December, 2016) by the Board because the amount of $42,300.00 presented by the engineer, was incorrect.

For: Martin-yes, Volturo-yes, Young-yes, Scott-yes, Bayouth-yes and Kirby-yes.  Against: None.

Motion carried.

G. Discussion/vote; on Change Order Request #5, (revised) for Cherokee Pride in the amount of $44,190.00  which is the correct amount, as recommended by Joy Kotey,  Engineer.  There is no change to the scope of the project; this was a mathematical error.  The difference is an increase of $1,890.00

Motion: by Larry Bayouth, second by Bill Martin, to approve Change Order Request #5, (revised) Cherokee Pride for the amount of $44,190.00 which is the correct amount, as recommended by Joy Kotey, Engineer.  There is no change to the scope of the project; this was a mathematical error.  The difference is an increase of $1,890.00

For: Young-yes, Scott-yes, Martin-yes, Volturo-yes, Bayouth-yes and Kirby-yes.  Against: None

Motion carried.

H. Discussion/Vote on Change Order   request #7, for Cherokee Pride in the amount of $8,563.35 on payment for the pipe, fittings, and appurtenances required to shift approximately half of the waterline “A” to the North side of 81st St. South, as recommended by Joyce Kotey, Engineer. 							      Motion: by Charles Volturo, second by Pat Scott to approve Change Order request #7, for Cherokee Pride in the amount of $8,563.35 on payment for the pipe, fittings, and appurtenances required to shift approximately half of the waterline “A” to the North side of 81st St. South, as recommended by Joyce Kotey, Engineer. 		            For: Martin-yes, Volturo-yes, Young-yes, Scott-yes, Bayouth-yes and Kirby-yes.  Against: None

Motion carried.

I. Discussion/vote; on Change Order Request #8 for Kalka Construction Co. in the credit amount of $879.66 which removes the southernmost 325-lineal feet of PVC waterline and tie-in at the intersection of S. 49th West Avenue and SH-117 and replaces the 325-lineal feet of PVC waterline fromSTA13+10.00 to STA. 16+35.00 with HDPE pipe and directional bore, as recommended by Joy Kotey, Engineer.

Motion: by Bergen Young, second by Roy Kirby to approve on Change Order Request #8 for Kalka Construction Co. in the credit amount of $879.66 which removes the southernmost 325-lineal feet of PVC waterline and tie-in at the intersection of S. 49th West Avenue and SH-117 and replaces the 325-lineal feet of PVC waterline fromSTA13+10.00 to STA. 16+35.00 with HDPE pipe and directional bore, as recommended by Joy Kotey, Engineer.

For: Martin-yes, Volturo-yes, Young-yes, Scott-yes, Bayouth-yes and Kirby-yes.  Against: None

Motion carried.

5. WATER AND FIELD REPORT:

- Report and discussion from Field Supervisor, Marty Lademann.

- Discussion/Vote on tie-in quote from Falcon Field Services for the tie-over to the master meter at East 131st St. South & South Lewis Avenue.

Motion: By Charles Volturo, second by Pat Scott to approve tie-in by Falcon Field Services for the

tie-over to the master meter at East 131st St. South & South Lewis Avenue. The price for this shall be up

to, but not exceed $20,000.00.

For: Martin-yes, Volturo-yes, Young-yes, Scott-yes, Bayouth-yes and Kirby-yes.  Against: None

Motion carried.

6. CONSENT AGENDA BUSINESS:

6a. Regular Meeting Minutes of 12/13/16.

6b. Treasurer’s Report (pages 2 thru 5)

6c. Accounts Payable Report (pages 6)

6d. Transfer of Benefit Units & New Taps (page 7)

Discussion/Vote:  The board members reviewed and asked questions regarding the Consent Agenda Business.

Motion: by Charles Volturo, seconded by Bill Martin to accept the Consent Agenda Business.

For: Young-yes, Martin-yes, Volturo-yes, Scott-yes, Bayouth-yes, and Kirby-Yes.   Against: None

Motion carried.

7.  PREVIOUSLY KNOWN BUSINESS OR OLD BUSINESS:

8.  UNKNOWN BUSINESS OR NEW BUSINESS:

- Discussion/Vote; on Permit Exception request No. WLSCOO19161070 for the construction of 280 linear feet of two (2) inch potable waterline and all appurtenances.  To serve the Madden Property, located in NW/4, NE/4, of Section 17, Township 18N, Range 12E.

Motion by Bergen Young, second by Pat Scott to approve the Exception request No. WLSCOO19161070,  for the construction of 280 linear feet of two (2) inch potable waterline and all appurtenances.  To serve the Madden Property, located in NW/4, NE/4, of Section 17, Township 18N, Range 12E, Tulsa County.

For: Young-yes, Martin-yes, Scott-yes, Kirby-Yes, Volturo-Yes and Bayouth-Yes.  Motion carried.

- Discussion/Vote; on Permit Exception request No. WLMCOO7261014 for the construction of 350 linear feet of six (6) inch PVC potable water and all appurtenances to serve the Shane Roller Property, located in Section 31, Township 17N, Range 13E, Tulsa County, Oklahoma.

Motion; by Bill Martin second by Roy Kirby to approve Permit Exception request No. WLMCOO7261014                                for  the construction of 350 linear feet of six (6) inch PVC potable water and all appurtenances to serve the     Shane Roller Property, located in Section 31, Township 17N, Range 13E, Tulsa County, Oklahoma.

For: Young-yes, Martin-yes, Scott-yes, Kirby-Yes, Volturo-Yes and Bayouth-Yes.  Motion carried

9. BOARD MEMBERS’ COMMENTS AND DISCUSSION:

Charles Volturo presented a Report that he prepared to the board about water consumption and irrigation trends.

10. MANAGER’S  REPORT:

Dorothy said that Eric Bledsoe and two staff members began work on the 2015-2016 audit on December 19th.  Everything went well, and the preliminary draft should be ready soon for the board members to review.

Our Annual Membership meeting will be on February 14th, 7:00 pm, at the District office.  The newsletter announcing the meeting will be sent out with our January bills.

Dorothy gave a three month update to the board members on the task management document

11. ADJOURNMENT:

Motion: There being no further business, a motion was made by Larry Bayouth and seconded by Pat Scott to adjourn the meeting at 10:02: pm.

For: Young-yes, Martin-yes, Volturo-yes, Scott-yes, Bayouth-yes and Kirby-yes.  Against: None.  Motion carried.

Minutes recorded by tape and Cindy Hubbell; reviewed by Dorothy Greek.